{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet2"],"not_rendered":{"images":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet2","index":0,"n_rows":37,"n_cols":51,"rows_kept":37,"merged":[[0,2,0,9],[0,10,0,16],[0,17,0,21],[0,22,0,27],[0,28,0,35],[0,36,0,37],[0,38,0,39],[0,40,0,41],[0,42,0,46],[0,47,0,49],[2,0,6,0],[7,0,10,0],[11,0,12,0],[13,0,15,0],[16,0,17,0],[18,0,19,0],[20,0,21,0]],"flags":["formulas_cached_only"]}
[null,null,"Scheduled Workflow",{"$nulls":7},"Patient Information Reconciliation",{"$nulls":6},"Portable Data for Imaging",{"$nulls":4},"Consistent Presentation of Images",{"$nulls":5},"Cross-enterprise Document Sharing for Imaging",{"$nulls":7},"Retrieve Information for Display ",null,"Consistent Time ",null,"Patient Demographics Query",null,"Cross-Enterprise Clinical Documents Share (XDS.b) ",{"$nulls":4},"Patient Identifier Cross-referencing for MPI",null,null," Radiatio Exposure Monitoring"]
["公司名称","系统名称","Order Placer","ADT Patient Registration","Acquisition Modality","Image Manager/Archive","Image Display","Evidence Creator","Department System Scheduler/Order Filler","Performed Procedure Step Manager","Order Placer","ADT Patient Registration","Acquisition Modality","Image Manager/Archive","Department System Scheduler/Order Filler","Report Manager","Performed Procedure Step Manager","Image Display","Portable Media Creator","Portable Media Importer","Print Composer","Report Reader","Acquisition Modality","Image Manager/Archive","Image Display","Evidence Creator","Print Composer","Print Server","Document Consumer","Document Registry ","Document Repository","Document Source","Imaging Document Consumer","Imaging Document Source","Integrated Document Source/Repository","Patient Identity Source ","Display","Information Source","Time Client","Time Server","Patient Demographics Supplier ","Patient Demographics Consumer ","Document Consumer","Document Registry ","Document Repository","Document Source","Patient Identity Source ","Patient Identity Source ","Patient Identifier Cross-reference Consumer","Patient Identity Cross-reference Manager","Modality"]
["东软集团","东软区域卫生信息平台",{"$nulls":34},"*","*"]
[null,"东软医院信息平台",{"$nulls":34},"*","*"]
[null,"东软实验室信息系统",{"$nulls":34},"*","*"]
[null,"东软电子病历信息系统",{"$nulls":34},"*","*"]
[null,"东软远程医疗系统",{"$nulls":24},"*",{"$nulls":9},"*","*"]
["东软医疗","NeuViz 128、NeuViz Prime V1.0",null,null,"*",{"$nulls":7},"*",{"$nulls":5},"*",null,"*",null,"*",{"$nulls":3},"*",{"$nulls":23},"*"]
[null,"NeuViz 16 Essence 1.0",null,null,"*",{"$nulls":7},"*",{"$nulls":5},"*",null,"*",null,"*",{"$nulls":3},"*",{"$nulls":23},"*"]
[null,"NSM-S15 Release 7.0",null,null,"*",{"$nulls":7},"*",{"$nulls":5},"*",null,"*",null,"*",{"$nulls":3},"*"]
[null,"NSM-S15P Version 1.0",null,null,"*",{"$nulls":7},"*",{"$nulls":5},"*",null,"*",null,"*"]
["亿彼恩","EBM UniCenter 远程影像会诊系统(CenterLogin) V1.2",{"$nulls":4},"*"]
[null,"EBM UniCenter 远程影像会诊系统 V1.2",{"$nulls":30},"*","*",null,null,"*","*","*","*","*","*","*","*","*","*",null,"*","*","*"]
["蓝网","蓝网电子病历系统软件 V2.0",{"$nulls":34},"*","*",{"$nulls":4},"*",null,"*","*"]
[null,"蓝网远程医疗会诊专家工作站系统 V7.0",{"$nulls":34},"*","*","*","*","*","*","*",null,"*","*",null,"*","*","*"]
[null,"蓝网医学影像信息系统（PACS）软件 V7.0","*","*"]
["曼荼罗","DoqLei（花冠）电子病历系统软件 V3.0","*","*",{"$nulls":36},"*","*",{"$nulls":5},"*","*","*"]
[null,"曼荼罗区域卫生信息集成与共享平台系统软件 V1.0",{"$nulls":36},"*",null,"*","*",{"$nulls":6},"*","*"]
["浙江联众","联众电子病历系统软件V 4.5","*","*",{"$nulls":32},"*","*",null,null,"*","*","*",null,"*","*",null,"*","*","*"]
[null,"联众区域卫生信息交换平台系统软件 V1.0",{"$nulls":28},"*",{"$nulls":7},"*",null,"*","*","*",null,"*",{"$nulls":4},"*"]
["和佳医疗","采集工作站软件 V1.0.0",{"$nulls":24},"*"]
[null,"医学影像存储与传输系统（PACS）软件 V1.0.0",{"$nulls":3},"*","*",null,"*",{"$nulls":9},"*","*","*",null,null,"*","*",null,"*"]
["金仕达卫宁","远程会诊系统 V1.0",{"$nulls":30},"*","*",null,null,"*","*","*","*","*","*","*","*","*","*",null,"*","*","*"]
["GE","Brivo 118, V 1.0",null,null,"*",{"$nulls":7},"*"]
["TCL医疗","Olympx_DR_TCL 7.0",null,null,"*",{"$nulls":7},"*"]
["佳田","数字化X线摄像系统控制软件 KADA1.0 ",null,null,"*",{"$nulls":7},"*",{"$nulls":13},"*"]
["新华","图像采集处理系统应用软件 5.22",null,null,"*",{"$nulls":7},"*",{"$nulls":13},"*"]
["新黄浦","新黄浦图像采集处理系统应用软件V2.0",null,null,"*",{"$nulls":7},"*",{"$nulls":13},"*"]
["深图","SONTU Smart-DR 一体化工作站系统软件 V1.0",null,null,"*",{"$nulls":7},"*",{"$nulls":9},"*",{"$nulls":3},"*"]
["睿科华","睿科华医学影像输出系统 1.0",{"$nulls":25},"*"]
["华海","华海区域远程系统 V5.0",{"$nulls":40},"*","*","*","*"]
["山灞","山灞远程会诊系统 1.0"]
["心医","远程会诊系统 V1.0",{"$nulls":30},"*","*",null,null,"*","*","*","*","*","*","*","*","*","*",null,"*","*","*"]
["新博卓畅","医院信息集成平台 V2.0",{"$nulls":36},"*",null,"*",{"$nulls":8},"*"]
["格林蓝德","格林蓝德区域医学影像存储和通讯软件 V5.0",{"$nulls":34},"*","*",null,"*",{"$nulls":7},"*"]
["浙江卡易","卡易远程会诊系统 V3.0",{"$nulls":30},"*","*",null,null,"*","*","*","*","*","*","*","*","*","*",null,"*","*","*"]
["英飞达","英飞达区域PACS V1.0",{"$nulls":26},"*","*","*",null,"*","*",{"$nulls":4},"*",null,"*","*",null,"*",{"$nulls":4},"*","*"]