{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["Result_System_RAD","Result_System_ITI"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Result_System_RAD","index":0,"n_rows":32,"n_cols":40,"rows_kept":32,"merged":[[1,1,1,2],[1,3,1,39],[2,1,2,2],[2,3,2,9],[2,10,2,13],[2,14,2,19],[2,20,2,22],[2,23,2,25],[2,26,2,30],[2,31,2,34],[2,35,2,37],[2,38,2,39],[3,1,3,2],[4,1,8,1],[10,1,11,1],[15,1,16,1],[17,1,19,1],[21,1,23,1],[29,1,30,1]],"flags":["formulas_cached_only"]}
[]
[null,"Domain",null,"Radiology"]
[null,"Integration Profile",null,"SWF",{"$nulls":6},"PIR",{"$nulls":3},"PDI",{"$nulls":5},"KIN",null,null,"ED",null,null,"CPI",{"$nulls":4},"ARI",{"$nulls":3},"MAMMO",null,null,"XDS-I"]
[null,"Actor",null,"ADT","OP","MOD","IM","ID","EC","PPSM","MOD","IM","RM","PPSM","ID","PMC","PMI","RRD","EC","PC","IM","ID","EC","IM","ID","EC","MOD","IM","ID","EC","PC","RRP","RRD","IM","ID","IM","ID","PC"]
[null,"北京亿彼恩科技有限公司","EBM Server 6.1",{"$nulls":9},"*",{"$nulls":10},"*",{"$nulls":3},"*",{"$nulls":5},"*",null,"*"]
[null,null,"EBM UniSight 4.3",{"$nulls":21},"*",{"$nulls":3},"*",null,"*",{"$nulls":3},"*",null,"*","*"]
[null,null,"EBM XDS Server 1.0"]
[null,null,"EBM XDS Client 1.0",{"$nulls":35},"*","*"]
[null,null,"EBM UniGate 1.0",{"$nulls":11},"*","*","*","*",null,"*",null,null,"*",null,null,"*",{"$nulls":3},"*"]
[null,"深圳迈瑞生物医疗电子股份有限公司","DigiEye560 01.05.00",null,null,"*"]
[null,"北京国药恒瑞美联信息技术有限公司","TCL PACS V1.0",{"$nulls":11},"*","*","*",null,null,"*"]
[null,null,"OlympX V5.24",null,null,"*"]
[null,"北京中科美伦科技有限公司","ZK-PACS 6.0",{"$nulls":17},"*","*"]
[null,"深圳市安科信息系统有限公司","Annet RIS/PACS 2.0\n",{"$nulls":4},"*"]
[null,"通用电气医疗系统"," Centricity RIS/PACS CE",{"$nulls":11},"*","*",{"$nulls":4},"*","*","*","*",null,"*",null,"*","*","*",null,"*",null,"*","*"]
[null,"北京思创贯宇科技开发有限公司","STPACS 3.0",{"$nulls":3},"*"]
[null,null,"STPACS医学影像工作站 3.1\n",{"$nulls":4},"*"]
[null,"沈阳东软医疗系统有限公司","Neusoft HIS 5.0","*","*"]
[null,null,"Neusoft BW工作站 5.0",{"$nulls":5},"*",{"$nulls":27},"*"]
[null,null,"Neusoft PACS/RIS 5.0",{"$nulls":3},"*","*",null,"*",null,"*","*","*",null,null,"*","*",null,"*",{"$nulls":7},"*","*",{"$nulls":3},"*",null,null,"*"]
[null,"西门子（中国）有限公司医疗集团","syngo XS 70",{"$nulls":4},"*",{"$nulls":6},"*"]
[null,"上海锐珂医疗器材有限公司","DRV5 5.3",null,null,"*",{"$nulls":4},"*",{"$nulls":15},"*",{"$nulls":3},"*"]
[null,null,"DRVI 5.2",null,null,"*",{"$nulls":4},"*",{"$nulls":15},"*",{"$nulls":3},"*"]
[null,null,"GX Workstation 2.0SP2\n",{"$nulls":4},"*",{"$nulls":6},"*","*","*"]
[null,"AGFA医疗","PACS_AGFA 6.5",{"$nulls":3},"*","*","*",{"$nulls":26},"*","*"]
[null,"北京伟业前程科技有限公司","VISIONPACS 5.0",{"$nulls":4},"*",{"$nulls":19},"*",{"$nulls":5},"*","*"]
[null,"上海青蓝科技有限责任公司","PACS V5.0",{"$nulls":12},"*","*"]
[null,"北京万东医疗装备股份有限公司","DSI1000 2.0",null,null,"*"]
[null,"富士医疗器材（上海）有限公司","Synapse 3.2.1",{"$nulls":3},"*",{"$nulls":8},"*"]
[null,"实达科技（广州）医疗系统有限公司","实达南方PACS 3.5",{"$nulls":4},"*"]
[null,null,"实达南方RIS 3.5",{"$nulls":6},"*"]
[null,"上海岱嘉医学信息系统有限公司","A-Site V4.0",{"$nulls":3},"*","*",{"$nulls":3},"*",{"$nulls":15},"*","*",{"$nulls":4},"*","*"]

{"sheet":"Result_System_ITI","index":1,"n_rows":16,"n_cols":21,"rows_kept":16,"merged":[[0,0,0,1],[0,2,0,27],[1,0,1,1],[1,2,1,3],[1,4,1,6],[1,7,1,8],[1,9,1,10],[1,11,1,14],[1,15,1,16],[1,17,1,20],[2,0,2,1],[3,0,8,0],[13,0,14,0]],"flags":["formulas_cached_only"]}
["Domain",null,"ITI"]
["Integration Profile",null,"CT",null,"ATNA",null,null,"PDQ",null,"RID",null,"XDS.a",{"$nulls":3},"PIX",null,"XDS.b"]
["Actor",null,"TC","TS","SN","SA","ARR","PDC","PDS","DISPLAY","INFO_SRC","DOC_CONSUMER","DOC_REGISTRY","DOC_SOURCE","DOC_REPOSITORY","PAT_IDENTITY_CONSUMER","PAT_IDENTITY_X_REF_MGR","DOC_CONSUMER","DOC_REGISTRY","DOC_SOURCE","DOC_REPOSITORY"]
["北京亿彼恩科技有限公司","EBM Server 6.1","*",null,"*","*"]
[null,"EBM UniSight 4.3","*",null,"*","*"]
[null,"EBM XDS Server 1.0","*",null,"*","*",null,"*",{"$nulls":4},"*",null,"*","*"]
[null,"EBM XDS Client 1.0","*",null,"*","*",{"$nulls":5},"*",null,"*",{"$nulls":3},"*",null,"*"]
[null,"XDSb_Server 1.0",{"$nulls":15},"*","*","*","*"]
[null,"EBM UniGate 1.0","*",null,"*","*"]
["北京中科美伦科技有限公司","ZK-PACS 6.0","*",{"$nulls":6},"*","*"]
["西安华海医疗信息技术股份有限公司","华海区域PACS系统 2.0\n","*",null,"*",null,"*",{"$nulls":4},"*","*","*","*",null,null,"*","*","*","*"]
["通用电气医疗系统"," Centricity RIS/PACS CE","*"]
["沈阳东软医疗系统有限公司","东软区域平台 1.0","*",null,null,"*",{"$nulls":11},"*",null,"*"]
["上海锐珂医疗器材有限公司","CSH EHealth PIX 1.0",{"$nulls":14},"*"]
[null,"CSH PACS 11",{"$nulls":12},"*","*"]
["国际商业机器全球服务（中国）有限公司","HIE 2.1",{"$nulls":16},"*"]