{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["结果"],"not_rendered":{"images":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"结果","index":0,"n_rows":68,"n_cols":57,"rows_kept":68,"merged":[[0,2,0,9],[0,10,0,15],[0,16,0,20],[0,21,0,23],[0,24,0,27],[0,28,0,33],[0,34,0,41],[0,42,0,43],[0,44,0,46],[0,47,0,48],[0,49,0,50],[0,51,0,55],[4,0,7,0],[9,0,10,0],[11,0,12,0],[18,0,21,0],[24,0,26,0],[30,0,32,0],[39,0,40,0],[41,0,42,0],[44,0,46,0],[56,0,60,0],[64,0,65,0]],"flags":["formulas_cached_only"]}
[null,null,"SWF",{"$nulls":7},"PIR",{"$nulls":5},"PDI",{"$nulls":4},"KIN",null,null,"RWF",{"$nulls":3},"CPI",{"$nulls":5},"XDS-I",{"$nulls":7},"RID",null,"PIX",null,null,"CT",null,"PDQ",null,"XDS.b"]
["公司名称","系统名称","OP","ADT ","MOD","IM","ID","EC","OF","PPSM","OP","ADT","MOD","IM","OF","RM","ID","PMC","PMI","PC","RRD","IM","ID","EC","IM","OF","RM","RC","MOD","IM","ID","EC","PC","PS","DOC_Consumer","DOC_Registry ","DOC_Repository","DOC_Source","IMG_DOC_Consumer","IMG_DOC_SOURCE","INT_DOC_SOURCR/REPOSITORY","PAT_IDENTITY_SOURCE","DISPLAY","INFO_SRC","PAT_IDENTITY_SOURCE","PAT_IDENTITY_CONSUMER","PAT_IDENTITY_X_REF_MGR","TC","TS","PDS","PDC","DOC_Consumer","DOC_Registry ","DOC_Repository","DOC_Source","PAT_IDENTITY_SRC"]
["上海金仕达卫宁软件股份有限公司","金仕达卫宁区域信息平台 4.5",{"$nulls":32},"*","*","*","*","*","*",null,"*",null,null,"*","*","*","*",null,"*","*","*","*","*","*","*",18]
["北京华康同邦科技有限公司","华康PACS软件系统 V3.0",{"$nulls":3},"*",null,"*",{"$nulls":5},"*",{"$nulls":10},"*",{"$nulls":4},"*",null,"*",{"$nulls":24},6]
["方正国际软件（北京）有限公司","ACIES 1.40",{"$nulls":5},"*",{"$nulls":23},"*",{"$nulls":24},2]
[null,"Founder RIS V1.0",{"$nulls":12},"*",{"$nulls":41},1]
[null,"CHIS 6.0","*",{"$nulls":7},"*",{"$nulls":45},2]
[null,"Founder ESB V2.0",{"$nulls":44},"*",{"$nulls":3},"*",{"$nulls":5},2]
["北京伟业前程有限责任公司","VisionPACS 5.0",{"$nulls":5},"*",{"$nulls":8},"*","*","*","*","*",{"$nulls":6},"*",{"$nulls":4},"*",{"$nulls":23},8]
["柯尼卡美能达医疗印刷器材（上海）有限公司","CS-2 1.40",{"$nulls":10},"*",{"$nulls":15},"*",{"$nulls":3},"*",{"$nulls":23},3]
[null,"CS-3 3.02",{"$nulls":10},"*",{"$nulls":15},"*",{"$nulls":3},"*",{"$nulls":23},3]
["北京中科美伦医疗股份有限公司","ZK-HIS医院信息管理系统 V3.0","*","*",{"$nulls":6},"*","*",{"$nulls":44},4]
[null,"区域卫生信息平台 V1.0",{"$nulls":32},"*","*","*","*","*","*",null,"*",{"$nulls":3},"*","*","*",null,"*","*","*","*","*","*","*",17]
["上海联影医疗科技有限公司","MCS 1.0",null,null,"*",{"$nulls":7},"*",{"$nulls":6},"*",{"$nulls":8},"*",{"$nulls":27},4]
["上海罗根医疗科技有限公司","Rogan View Pro-X 2.0",{"$nulls":11},"*",{"$nulls":42},1]
["创业软件股份有限公司","创业医学影像存储与传输系统 2.5",{"$nulls":3},"*",{"$nulls":7},"*",{"$nulls":10},"*",{"$nulls":31},3]
["江苏鱼跃医疗设备股份有限公司","PrestoDR 2.40",null,null,"*",{"$nulls":51},1]
["温州卡易网络技术有限公司","卡易区域医疗影像信息管理系统软件 V1.0",{"$nulls":32},"*","*","*",{"$nulls":19},3]
["北京美智医疗科技有限公司","MZDR-Si6500W 11.0",{"$nulls":26},"*",{"$nulls":3},"*",{"$nulls":23},2]
[null,"PowerVision 5.0",{"$nulls":31},"*",{"$nulls":22},1]
[null,"PowerHIS 5.0","*","*",{"$nulls":6},"*","*",{"$nulls":44},4]
[null,"PowerXHE 区域医疗信息平台 6.0",{"$nulls":32},"*","*","*","*","*","*","*","*",{"$nulls":3},"*","*","*",null,"*","*","*","*","*","*","*",18]
["英飞达软件(上海)有限公司","INFINITT RIS 3.0",{"$nulls":24},"*","*",{"$nulls":28},2]
["深圳市蓝韵实业有限公司","蓝韵区域信息共享平台 1.0",{"$nulls":42},"*","*","*",null,null,"*","*",{"$nulls":5},5]
["宁波市科技园区明天医网科技有限公司","eWorld 医学影像存档与传输系统（PACS系统)5.0",{"$nulls":19},"*",{"$nulls":34},1]
[null," eWorld 影像浏览及后处理工作站 5.0",{"$nulls":20},"*","*",{"$nulls":6},"*","*",{"$nulls":24},4]
[null,"eWorld 区域医疗和卫生信息共享服务平台 1.0",{"$nulls":32},"*","*","*","*","*","*","*","*",null,null,"*","*","*","*",null,"*","*","*","*","*","*","*",19]
["西安翼展电子科技有限公司","还原医学影像存档与通讯系统 V3.0",{"$nulls":4},"*",{"$nulls":49},1]
["安徽省慧光医疗科技有限公司","胶片影像处理系统 1.1",{"$nulls":31},"*",{"$nulls":22},1]
["深圳市安健科技有限公司","DXRay Diagnost V3.1.5.0",null,null,"*",{"$nulls":7},"*",{"$nulls":43},2]
["华润万东医疗装备股份有限公司","影锐数字图像系统 2.0",{"$nulls":10},"*",{"$nulls":15},"*",{"$nulls":3},"*",{"$nulls":23},3]
[null,"医学影像存档与传输系统 1.0",{"$nulls":3},"*",{"$nulls":7},"*",{"$nulls":10},"*",{"$nulls":31},3]
[null,"放射科信息系统 1.0",{"$nulls":6},"*",{"$nulls":5},"*","*",{"$nulls":9},"*","*","*",{"$nulls":28},6]
["浙江莱达信息技术有限公司"," 伊莱达区域医疗影像信息协同平台软件 V2.5",{"$nulls":40},"*","*",{"$nulls":4},"*",{"$nulls":7},3]
["深圳安科高技术股份有限公司","ANKE RMIIS区域医疗信息系统软件 8.0",{"$nulls":33},"*","*",{"$nulls":8},"*","*",{"$nulls":5},"*","*",null,null,6]
["东软集团股份有限公司","东软PACS/RIS ",{"$nulls":19},"*","*","*",{"$nulls":32},3]
["沈阳东软医疗系统有限公司","NeuViz 16 Platinum 1.0",null,null,"*",{"$nulls":7},"*",{"$nulls":15},"*",{"$nulls":3},"*",{"$nulls":23},4]
["飞利浦（中国）投资有限公司","Intellispace iRIS 1.0",{"$nulls":6},"*",{"$nulls":5},"*","*",{"$nulls":9},"*","*","*",{"$nulls":28},6]
["北京天健源达科技有限公司","天健区域卫生信息平台软件 v1.0",{"$nulls":32},"*","*","*","*","*","*",null,"*",{"$nulls":5},"*",null,"*","*","*",null,null,"*","*",13]
["浙江格林蓝德信息技术有限公司","m-Viewer 5.5",{"$nulls":4},"*","*",{"$nulls":8},"*","*","*","*","*",{"$nulls":9},"*","*","*",{"$nulls":23},10]
[null,"XDS-Viewer 5.0",{"$nulls":32},"*",{"$nulls":3},"*",{"$nulls":11},"*","*",null,null,"*",null,5]
["广州市铁山兰实业有限公司","铁山兰医院医学影像传输与存储系统 V3.6",{"$nulls":3},"*","*","*",{"$nulls":5},"*",null,null,"*","*","*","*","*",{"$nulls":3},"*",{"$nulls":4},"*","*","*","*",{"$nulls":23},14]
[null,"铁山兰医院放射科信息管理系统 V3.6",{"$nulls":6},"*",{"$nulls":5},"*","*",{"$nulls":9},"*","*","*",{"$nulls":28},6]
["富士胶片（中国）投资有限公司","富士远程会诊信息管理系统 1.0",{"$nulls":32},"*","*","*","*","*",{"$nulls":13},"*","*","*",null,8]
["北京蓝卫通科技有限公司","蓝卫通放射科信息系统 2.0",{"$nulls":6},"*",{"$nulls":5},"*","*",{"$nulls":9},"*","*","*",{"$nulls":28},6]
[null,"蓝卫通PACS服务器 2.0",{"$nulls":3},"*","*",null,null,"*",{"$nulls":3},"*",{"$nulls":10},"*",{"$nulls":4},"*",{"$nulls":26},6]
[null,"蓝卫通PACS影像工作站 2.0",{"$nulls":14},"*","*","*","*","*",{"$nulls":9},"*",null,"*",{"$nulls":23},7]
["心医国际数字医疗系统（大连）有限公司","心医区域影像存储传输系统软件 V1.0",{"$nulls":33},"*","*",{"$nulls":4},"*",{"$nulls":3},"*","*","*",null,"*","*","*","*","*","*","*",13]
["上海岱嘉医学信息系统有限公司"," 岱嘉医疗信息交互平台软件(简称：AT HiUP) 1.0",{"$nulls":32},"*","*","*","*","*","*","*","*",null,null,"*","*","*","*","*","*","*","*","*","*","*","*",20]
["金蝶医疗软件科技有限公司","区域卫生信息平台 1.0",{"$nulls":43},"*","*",null,null,"*","*","*","*","*",null,null,7]
["实达科技（广州）医疗系统有限公司","实达科技区域影像软件 1.0",{"$nulls":45},"*",null,"*","*",{"$nulls":5},3]
["易联众信息技术股份有限公司","易联众区域影像软件 2.0",{"$nulls":42},"*","*","*","*","*","*","*",{"$nulls":5},7]
["广州卫软信息科技有限公司","卫软之星PACS V4.0",{"$nulls":25},"*",null,null,"*","*",{"$nulls":24},3]
["佳能（中国）有限公司","CXDI Control software 8.0",null,null,"*",{"$nulls":7},"*",{"$nulls":15},"*",{"$nulls":3},"*",{"$nulls":14},"*",{"$nulls":8},5]
["青岛美迪康数字工程有限公司","美迪康区域卫生信息平台 1.0",{"$nulls":32},"*","*","*",null,"*",null,null,"*",{"$nulls":9},"*",{"$nulls":3},"*",7]
["GE Healthcare","GE OEC Brivo (Series) 1.x.1",null,null,"*",{"$nulls":7},"*",{"$nulls":4},"*",{"$nulls":38},3]
["锐珂（上海）医疗器材有限公司","DV6850",{"$nulls":31},"*",{"$nulls":22},1]
[null,"DV5850",{"$nulls":31},"*",{"$nulls":22},1]
[null,"DV5700",{"$nulls":31},"*",{"$nulls":22},1]
[null,"Chroma",{"$nulls":31},"*",{"$nulls":22},1]
[null,"Carestream E-Health Platform 2.0",{"$nulls":33},"*","*",{"$nulls":8},"*",null,"*",null,"*",null,null,"*","*",null,null,7]
["南京长城信息系统有限公司","diPlatform数字影像信息管理系统 V3",{"$nulls":17},"*",{"$nulls":6},"*",{"$nulls":5},"*",{"$nulls":23},3]
["岛津企业管理(中国)有限公司","RAD SPEED M FPD 8.0",null,null,"*",{"$nulls":7},"*",{"$nulls":15},"*",{"$nulls":3},"*",{"$nulls":23},4]
["华海盈泰医疗信息技术股份有限公司","区域PACS系统 v5.0",{"$nulls":32},"*","*","*","*",{"$nulls":3},"*",{"$nulls":7},"*","*",{"$nulls":5},7]
["江苏世轩科技股份有限公司","世轩医技管理平台软件 V1.0",{"$nulls":6},"*",{"$nulls":5},"*","*",{"$nulls":10},"*","*",{"$nulls":28},5]
[null,"世轩医学影像存储与传输系统软件 V1.0",{"$nulls":3},"*",{"$nulls":23},"*",{"$nulls":26},2]
["北京亿彼恩","EBM XDS Server 1.0",{"$nulls":32},"*",{"$nulls":6},"*",{"$nulls":4},"*",null,null,"*",{"$nulls":5},"*",5]
[{"$nulls":56},352]