{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Result_Conpany","Result_System","Result_English"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Result_Conpany","index":0,"n_rows":14,"n_cols":23,"rows_kept":14,"merged":[[1,2,1,22],[2,2,2,7],[2,8,2,10],[2,11,2,15],[2,16,2,18],[2,19,2,22]],"flags":["formulas_cached_only"]}
[]
[null,"领域(Domain)","Radiology"]
[null,"集成模式(Integration Profile)","SWF",{"$nulls":5},"PIR",null,null,"PDI",{"$nulls":4},"KIN",null,null,"ED"]
[null,"角色(Actor)","MOD","IM","ID","EC","OF","PPSM","MOD","IM","OF","ID","PMC","PMI","PC","RRD","IM","ID","EC","MOD","IM","ID","EC"]
[null,"亿彼恩","*","*","*",null,null,"*","*","*",null,"*","*","*","*",null,"*","*",null,null,"*","*"]
[null,"迈瑞","*",{"$nulls":9},"*",{"$nulls":6},"*"]
[null,"蓝韵",null,null,"*",{"$nulls":6},"*(2)","*(2)"]
[null,"中科美伦",{"$nulls":9},"*","*","*","*"]
[null,"华海",{"$nulls":3},"*","*",null,null,"*","*","*","*","*","*","*","*","*","*",null,"*","*"]
[null,"西门子",null,null,"*",{"$nulls":6},"*",null,"*"]
[null,"安科",null,null,"*"]
[null,"东软",null,"*",{"$nulls":3},"*",{"$nulls":12},"*"]
[null,"锐珂","*(2)","*","*",null,"*","*","*(2)","*","*"]
[null,"通用电气",null,null,"*","*",{"$nulls":8},"*"]

{"sheet":"Result_System","index":1,"n_rows":26,"n_cols":24,"rows_kept":26,"merged":[[1,1,1,2],[1,3,1,23],[2,1,2,2],[2,3,2,8],[2,9,2,11],[2,12,2,16],[2,17,2,19],[2,20,2,23],[3,1,3,2],[4,1,7,1],[9,1,10,1],[12,1,14,1],[18,1,21,1]],"flags":["formulas_cached_only"]}
[]
[null,"Domain",null,"Radiology"]
[null,"Integration Profile",null,"SWF",{"$nulls":5},"PIR",null,null,"PDI",{"$nulls":4},"KIN",null,null,"ED"]
[null,"Actor",null,"MOD","IM","ID","EC","OF","PPSM","MOD","IM","OF","ID","PMC","PMI","PC","RRD","IM","ID","EC","MOD","IM","ID","EC"]
[null,"亿彼恩","EBM PACS Server 6.0",null,"*",{"$nulls":3},"*",null,"*",{"$nulls":6},"*",{"$nulls":3},"*"]
[null,null,"EBM UniSight 4.0",null,null,"*",{"$nulls":6},"*","*","*","*",null,null,"*"]
[null,null,"EBM UniWeb 6.1",{"$nulls":19},"*"]
[null,null,"EBM UniGate 1.0","*",{"$nulls":5},"*"]
[null,"迈瑞","DC-7/DC-7T Diagnostic Ultrasound System JS.54.YB.VD","*",{"$nulls":9},"*",{"$nulls":6},"*"]
[null,"蓝韵","蓝韵医学影像档案传输、处理软件系统（PACS） 7",null,null,"*",{"$nulls":6},"*","*"]
[null,null,"蓝韵医用X射线摄影系统 3.0",{"$nulls":9},"*","*"]
[null,"中科美伦","ZK-PACS 6.0",{"$nulls":9},"*","*","*","*"]
[null,"华海","华海MedPACS医学图像存档与通讯系统服务器软件 V4.0",{"$nulls":7},"*",{"$nulls":6},"*",{"$nulls":3},"*"]
[null,null,"华海MedPACS医学图像存档与通讯系统工作流引擎软件 V4.0",{"$nulls":4},"*",{"$nulls":3},"*"]
[null,null,"华海MedPACS医学图像存档与通讯系统影像工作站软件 V4.0",{"$nulls":3},"*",{"$nulls":5},"*","*","*","*","*",null,"*","*",null,null,"*"]
[null,"西门子","Syngo Imaging XS VA70",null,null,"*",{"$nulls":6},"*",null,"*"]
[null,"安科","ASG-340 Anke PACS/RIS System 7.0",null,null,"*"]
[null,"东软","PACSTEST 3.1",null,"*",{"$nulls":3},"*",{"$nulls":12},"*"]
[null,"锐珂","DR7500 V5.2","*",{"$nulls":5},"*"]
[null,null,"CR 5.2","*",{"$nulls":5},"*"]
[null,null,"EasyNet 2.0",null,"*",null,null,"*","*",null,"*","*"]
[null,null,"医疗质控工作站 V10 SP1",null,null,"*"]
[null,"通用电气","Centricity RIS/PACS 1.1",null,null,"*","*",{"$nulls":8},"*"]
[]
[]
[null,"60 Actor/System"]

{"sheet":"Result_English","index":2,"n_rows":26,"n_cols":24,"rows_kept":26,"merged":[[1,1,1,2],[1,3,1,23],[2,1,2,2],[2,3,2,8],[2,9,2,11],[2,12,2,16],[2,17,2,19],[2,20,2,23],[3,1,3,2],[4,1,7,1],[9,1,10,1],[12,1,14,1],[18,1,21,1]],"flags":["formulas_cached_only"]}
[]
[null,"Domain",null,"Radiology"]
[null,"Integration Profile",null,"SWF",{"$nulls":5},"PIR",null,null,"PDI",{"$nulls":4},"KIN",null,null,"ED"]
[null,"Actor",null,"MOD","IM","ID","EC","OF","PPSM","MOD","IM","OF","ID","PMC","PMI","PC","RRD","IM","ID","EC","MOD","IM","ID","EC"]
[null,"EBM","EBM PACS Server 6.0",null,"*",{"$nulls":3},"*",null,"*",{"$nulls":6},"*",{"$nulls":3},"*","*"]
[null,null,"EBM UniSight 4.0",null,null,"*",{"$nulls":6},"*","*","*","*",null,null,"*"]
[null,null,"EBM UniWeb 6.1",{"$nulls":19},"*"]
[null,null,"EBM UniGate 1.0","*",{"$nulls":5},"*"]
[null,"Maindray","DC-7/DC-7T Diagnostic Ultrasound System JS.54.YB.VD","*",{"$nulls":9},"*",{"$nulls":6},"*"]
[null,"Lanwind","Lanwind PACS  7",null,null,"*",{"$nulls":6},"*","*"]
[null,null,"Lanwind X-Ray 3.0",{"$nulls":9},"*","*"]
[null,"ZKML","ZK-PACS 6.0",{"$nulls":9},"*","*","*","*"]
[null,"HuaHai","Huahai MedPACS Server V4.0",{"$nulls":7},"*",{"$nulls":6},"*",{"$nulls":3},"*"]
[null,null,"Huahai MedPACS Workflow V4.0",{"$nulls":4},"*",{"$nulls":3},"*"]
[null,null,"Huahai MedPACS Workstation V4.0",{"$nulls":3},"*",{"$nulls":5},"*","*","*","*","*",null,"*","*",null,null,"*"]
[null,"Siemens","Syngo Imaging XS VA70",null,null,"*",{"$nulls":6},"*",null,"*"]
[null,"Anke","ASG-340 Anke PACS/RIS System 7.0",null,null,"*"]
[null,"Neusoft","PACSTEST 3.1",null,"*",{"$nulls":3},"*",{"$nulls":12},"*"]
[null,"Carestream Health","DR7500 V5.2","*",{"$nulls":5},"*"]
[null,null,"CR 5.2","*",{"$nulls":5},"*"]
[null,null,"EasyNet 2.0",null,"*",null,null,"*","*",null,"*","*"]
[null,null,"QA Station V10 SP1",null,null,"*"]
[null,"GE Healthcare","Centricity RIS/PACS 1.1",null,null,"*","*",{"$nulls":8},"*"]
[]
[]
[null,"60 Actor/System"]